## LEVEL 6
LEVEL 9 - 26 |  |  |  |  | TYPE A | [6 empty] | 26.05.2016
| BLOCK A |  | BLOCK B |  | Area | (sqm) |  | opening requirement 10% |  | opening provided |  | LEGEND
No. | Area | (sqm) | Area | (sqm) | [7 empty] | MV | Mechanical Ventilation
1 | Unit 1 | 67.78 | Unit 1 | 67.78 |  |  |  | sqm |  | sqm | (%)
2 | Unit 2 | 46.51 | Unit 2 | 46.51 | Shower |  | 1.94 | 0.194 |  | MV | -
3 | Unit 3 | 67.51 | Unit 3 | 67.51 | Toilet |  | 1.94 | 0.194 |  | MV | -
4 | Unit 4 | 67.51 | Unit 4 | 67.51 | Foyer |  | 1.76 | 0.176 |  | - | -
5 | Unit 5 | 67.51 | Unit 5 | 67.51 | Mater Room |  | 11.9 | 1.19 |  | 2.16 | 18.1513
6 | Unit 6 | 67.51 | Unit 6 | 67.51 | Kitchen, dine, Living |  | 28.97 | 2.897 |  | 5.04 | 17.3973
7 | Unit 7 | 46.51 | Unit 7 | 46.51 | Total |  | 46.51
8 | Unit 8 | 46.51 | Unit 8 | 46.51
9 | Unit 9 | 67.78 | Unit 9 | 67.78 | TPYE A 1
10 | Unit 10 | 67.78 | Unit 10 | 67.78 | Same as Type A + Terrace
11 | Unit 11 | 46.51 | Unit 11 | 46.51
12 | Unit 12 | 46.51 | Unit 12 | 46.51 | TPYE A 2
13 | Unit 13 | 46.51 | Unit 13 | 46.51 | Same as Type A + Terrace
14 | Unit 14 | 67.51 | Unit 14 | 67.51
15 | Unit 15 | 67.51 | Unit 15 | 67.51 | TYPE B
16 | Unit 16 | 46.51 | Unit 16 | 46.51 | Area | (sqm) |  | opening requirement 10% |  | opening provided
17 | Unit 17 | 67.78 | Unit 17 | 67.78
TOTAL |  | 1001.75 |  | 1001.75 |  |  |  | sqm |  | sqm | (%)
[5 empty] | Bath 1 |  | 4.13 | 0.413 |  | 0.58 | 14.0436
[5 empty] | Bath 2 |  | 4.13 | 0.413 |  | 0.58 | 14.0436
[5 empty] | Foyer |  | 1.76 | 0.176 |  | - | -
[5 empty] | Master Suite |  | 15.57 | 1.557 |  | 5.4 | 34.6821
[5 empty] | Bedroom 2 |  | 10.2 | 1.02 |  | 3.24 | 31.7647
[5 empty] | Study,Kitc, dine, Living |  | 31.99 | 3.199 |  | 5.04 | 15.7549
[5 empty] | Total |  | 67.78
TPYE B 1
Same as Type B + Terrace
TPYE B 2
Same as Type B + Terrace
TYPE C
[5 empty] | Area | (sqm) |  | opening requirement 10% |  | opening provided
[8 empty] | sqm |  | sqm | (%)
[5 empty] | Bath 1 |  | 3.99 |  | 0.399 | 0.58 | 14.5363
[5 empty] | Bath 2 |  | 3.99 |  | 0.399 | 0.58 | 14.5363
[5 empty] | Foyer |  | 2.52 |  | 0.252 | - | -
[5 empty] | Master Suite,Dining, Kitc. |  | 23.33 |  | 2.33 | 3.78 | 16.2023
[5 empty] | Living, Dining, Kitc., Study |  | 6.15 |  | 0.62 | MV | MV
[5 empty] | Bedroom 2 |  | 11.09 |  | 1.11 | 5.04 | 45.4463
[5 empty] | Total |  | 51.07
TPYE C 1
Same as Type A + Terrace
TPYE C 2
Same as Type A + Terrace

## natural vent.
TYPE | No. Rooms /unit | Room w/ Natural vent. Room | Total Unit accord. Type | Total Room | Total Natural vent. Room
A | 1 | 1 | 252 | 252 | 252
B | 3 | 2 | 144 | 432 | 288
C | 2 | 2 | 216 | 432 | 432
Total |  |  | 612 | 1116 | 972
| Habitable room w/ natural vent. |  | : | 972 | x 100
1116
87.1%